## About
MPCbS Max Potential Capacity by Source
Source: | PPE - Programa de Planejamento Energético - Amanda Jorge Vinhoza | Energy Planning Program - Amanda Jorge Vinhoza
| Master Thesis | Master Thesis
http://www.ppe.ufrj.br/images/publica%C3%A7%C3%B5es/mestrado/Dissert_AJVCSilva.pdf
2019
| EPE - Empresa de Pesquisa Energética | Energy Research Public Company
| Potencial dos Recursos Energéticos no Horizonte 2050 | Energy Resources Potential in the Horizon 2050
http://www.epe.gov.br/sites-pt/publicacoes-dados-abertos/publicacoes/PublicacoesArquivos/publicacao-227/topico-416/NT04%20PR_RecursosEnergeticos%202050.pdf
2018
Notes (Brazil):
Onshore wind potential considered to be the average between old estimations and more recent scenarios, which consider new technologies
Notes:
These maximums reflect the available resource potential for hydro, wind, solar, and biomass power.
Maximums for coal, natural gas, and nuclear are not imposed, as these power types are unlikely to
be geographically resource-constrained. (An arbitrarily high number is chosen here, to ensure
this limit doesn't come into play for these three electricity sources.)

## Data
Table ES-1 from NREL
Technology | Potential Capacity (GW) | Hydro | Capacity (GW) | Source
Urban utility-scale PV | 1200 | Existing Fleet | 101.2 | See Figure O3-8
Rural utility-scale PV | 153000 | Modeled Potential - Upgrades and optimization of Existing Hydropower Plants | 6.9 | See Table O3-3
Rooftop PV | 664 | Technical Potential - Powering of Non-Powered Dams | 12 | See Table O3-3
Concentrating Solar | 38000 | Technical Potential - Powering Existing Canals and Conduits | 2 | See Table O3-3
Onshore wind | 11000 | Technical Potential - New Stream-Reach Development | 65.5 | See Table O3-3
Offshore wind | 4200
Biopower | 62 | Total Potential | 187.6
Hydrothermal power systems | 38
Enhanced geothermal systems | 4000
Hydropower | 60 | The max potential hydropower estimate here is substantially lower than
the actual deployed hydropower in the model's start year. It is likely that
Red = not used in model |  | this hydropower statistics is wrong, or is referring to a subset of total
hydropower. Accordingly, we use a different, better source for
Electricity Source (model subscript) | Potential Capacity (MW) | hydropower potential (above).
hydro | 187600
onshore wind | 11000000
solar PV | 154864000 | Municipal Solid Waste |  | Source
solar thermal | 38000000 | Start Year Capacity (MW) | 1820 | see elec/SYC
biomass | 62000
geothermal | 4000000 | MSW Tonnage Data for Year 2015
offshore wind | 4200000 | U.S. MSW generated (million tons) | 262.4 | U.S. EPA
|  | U.S. MSW burned with energy recovery (million tons) | 33.57 | U.S. EPA
Maximums for coal, natural gas, and nuclear are not imposed, |  | U.S. MSW recycled (million tons) | 67.8 | U.S. EPA
as these power types are unlikely to be |  | U.S. MSW composted (million tons) | 23.4 | U.S. EPA
geographically resource-constrained. |  | U.S. MSW landfilled (million tons) | 137.7 | U.S. EPA
(An arbitrarily high limit number is used on the next tab.)
|  | Combustible share of landfilled MSW | 83.2% | U.S. EPA
Assumes metals, glass, and "other" waste types are not combustible.
We assume burning materials that are today being recycled or composted is environmentally
counter-productive and also un-economic, so we assume all potential increase in MSW combustion
must come from the landfilled share of wastes.
|  | MSW Combustion growth potential (% increase) | 341.3%
|  | Max MSW Potential Capacity (MW) | 8031.2257

## Offshore wind
http://www.ppe.ufrj.br/images/publica%C3%A7%C3%B5es/mestrado/Dissert_AJVCSilva.pdf
| GW | MW
Theoretical | 1688 | 1688000
Technical | 1064 | 1064000
Socio-environmental | 331 | 331000

## Onshore wind
| GW | MW
Old estimations | 143.5
New estimations | 246.9
Mean | 195.2 | 195200

## Hydro
Hydro (apresentação interna número 9)
248.9
76
| GW | 172.9
| MW | 172900

## Solar
MW
Residential | 32820
Centralized | 307000
Total | 339820
GWp
24
747
4803
2618
3406
10101
6513
307
Total | 28519 | 28519000

## Biomass
| Mtep | MGWh | GWh | Efficiency | GWmed
2050 | 520 | 6.0465 | 6046511.6279 | 0.35 | 241.5844

## MSW
Tonnes MSW 2050 | 114000000
GJ/t | 18
GJ 2050 | 2052000000
Seconds | 31536000
GWmed 2050 | 65.0685
Mwmed 2050 | 65068.4932

## MPCbS
Electricity Source | Max Potential Capacity (MW)
hard coal | 999999999999999
natural gas nonpeaker | 999999999999999
nuclear | 999999999999999
hydro | 172900
onshore wind | 195200
solar PV | 339820
solar thermal | 400000
biomass | 241584.3687
geothermal | 0
petroleum | 999999999999999
natural gas peaker | 999999999999999
lignite | 999999999999999
offshore wind | 331000
crude oil | 999999999999999
heavy or residual fuel oil | 999999999999999
municipal solid waste | 65068.4932